Technical Regulations 1997 concerning requirements to construction works and products for construction works

Technical Regulations under the planning and building act

Chapter XI Water and sewage systems

§ 11-1 Water and sewage systems

Water and sewage systems mains and ancillaries shall be designed and executed such that health, environment and safety are safeguarded.

Waster and sewage mains and ancillaries shall be designed and executed such that the works function as planned and withstand normally occurring internal and external actions.

Waster and sewage mains and ancillaries shall be designed and executed with sufficient safety against leakages from and into pipes and conduits. Materials shall have satisfactory durability against normally appearing thermal, mechanical and chemical effects and their effects on the environment shall have been considered.

Water and sewage mains and ancillaries shall be arranged and adapted for efficient operation and maintenance. Leakages shall be easy to detect. Water and sewage mains and ancillaries shall be secured against the effects of low temperature.

§ 11-2 Water supply systems

The water systems shall be designed and executed such that the water quality will not be inferior. Materials shall not emit unhealthy or dangerous substances.

The water supply system shall be designed with sufficient water flow and satisfactory pressure to supply the required quantity of water for households, businesses, institutions, etc. and for fire fighting purposes.

Local conditions might limit the obligation to supply water to businesses and for fire fighting purposes.

§ 11-21 Water mains system

Water mains shall have sufficient tightness against leakage from the pipes and conduits and maximum operating pressure.

The water mains shall be designed such that back flow or ingress of contaminated fluids, solids or gases will be prevented. This is also the case concerning back siphonage and supply of water from other sources and installations.

§ 11-3 Waste water systems

The waste water systems shall be designed and executed such that waste water will be drained off in a quantity corresponding to the incoming water flow and such that god hygiene and health is maintained.

Waste water systems shall be designed and executed such that inundations or noisome odours do not occur.

Surface runoff water shall be infiltrated, retained or drained off so that no inundation or other nuisance will appear at design flow from precipitation and snow melting. When run off water flow is greater than the design flow and the water cannot be infiltrated, retained or drained away, it shall be removed by other means as far as possible harmless for the environment.

§ 11-31 Waste water mains

Waste water piper and conduits shall have sufficient tightness against leakage at normal operation. The pipes and conduits shall function without obstructions. Normally, waste water piper and conduits shall be self-cleaning and have necessary openings for inspection and cleaning.

Buildings shall be secured against inundation due to high water level or too high pressure in the waste water streams.

§ 11-4 Conditions by local authorities concerning § 67 of the planning and building act

When construction of waster and waste water mains is obligatory after § 67 of the planning and building act, the local authority can decide on choice of products and solutions as necessary to secure efficient and maintenance of the mains.