# Ministry for Foreign Affairs	NOTIFICATION

Rauðarárstíg 25 – IS-150 Reykjavík

Tel. 560 9600 – Fax 562 4878

Receiver

EFTA Surveillance Authority

Rue Belliard 35

B-1040 Brussels	Fax +32 2 286 1800

Subject

Directive 98/34/EC Notification

(EEA Information Procedure on Draft Technical Regulations

Annex II, Chapter XIX, EEA Agreement)

1.

2.	IS

3A.	Ministry for Foreign Affairs

Raudararstig 25

IS-150 Reykjavik

Tel: +354 560 9900

Fax: +354 560 4862

3B.	Ministry of Business Affairs
Sölvhólsgata 7

IS-150 Reykjavík
Tel: +354 545 8800
Fax: +354 511 1161

4.	2008/9018/IS

5.	Regulation on Metrological Control of Automatic Weighing Instruments.

6.	Automatic Weighing Instruments (AWIs), cf. the scope of Directive 2004/22/EC (MID) Annex MI-006 which is further limited by fields of use in this regulations.

7.	No

- This draft regulations takes the already implemented MID for granted regarding AWIs and national rules for older types as well as providing for AWI-types fulfilling the older directives cf. the transitional provisions of MID. It contains rules for national reverifications for AWIs in use, responsibilities of different players, requirements for use, testing requirements and instruction for reverifications, reverification periods, permits for service bodies, internal inspection by owners replacing reverifications and administrative and legal aspects.

9.	The implementation of MID required a review of the current regulations, now expelled, and the new metrology Act no 91/2006 on Measurements, Measurement Standards and Official Weighers opens up for new methods for national control of measuring instruments in use.

10	-

11.	NO

12.	-

13.	NO

14.	NO

15. 	-

16. 	TBT and SPS Aspects

TBT Aspect

a) 	NO

b)  iii)	The draft does not have a significant effect on international trade.

SPS Aspect

a) 	NO

b)  iii)	The draft does not have a significant effect on international trade.