Regulation on requirements for taximeters with additional devices

Established by the Norwegian Metrology Service dd.dd.yyyy in accordance with the Units of

measurement, measurement and standard time Act of 26 January 2007 no 431 §§ 7, 8, 10, 18, 19, 30 and 35 and the Units of measurement and Measurement regulation of dd.dd.yyyy §§ 5-1 and 5-2. In accordance with EEA-agreement annex II chapter IX no 27b (directive 2004/22/EC).

Chapter 1 – Introduction

§ 1 Scope

This regulation determines which requirements that shall apply for taximeters and supplementing requirements on control and approval.

The requirements in this regulation applies to taximeters that are

- sold or offered for sale

- used as foundation for calculations of financial settlement

This regulation is not applicable for electromagnetic radiation.

§ 2 Definitions

For the purposes of this regulation

- taximeter: A device that works together with a signal generator (1) to make a measuring instrument. This device measures duration, calculates distance on the basis of a signal delivered by the distance signal generator. Additionally, it calculates and displays the fare to be paid for a trip on the basis of the calculated distance and/or the measured duration of the trip.

b)  fare: The total amount of money due for a trip based on a fixed initial hire fee and/or the length and/or the duration of the trip. The fare does not include a supplement charged for extra services

c)   cross-over speed: The speed value found by division of a time tariff value by a distance tariff value

- normal calculation mode S (single application of tariff): Fare calculation based on application of the time tariff below the cross-over speed and application of the distance tariff above the cross-over speed

- normal calculation mode D (double application of tariff): Fare calculation based on simultaneous application of time tariff and distance tariff over the whole trip

- Operating position: The different modes in which a taximeter fulfils the different parts of its functioning. The operating positions are distinguished by the following indications:

  - For hire: The operating position in which the fare calculation is disabled

  - Hired: The operating position in which the fare calculation takes place on the basis of a possible initial charge and a tariff for distance travelled and/or time of the trip

  - Stopped: The operating position in which the fare due for the trip is indicated and at least the fare calculation based on time is disabled

g)	additional device: a device or software connected to the interface(s) of the taximeter.

§ 3 Control and approval of taximeters when sold

Taximeters that are sold or offered for sale shall have a conformity assessment according to Regulation on units of measurements and measurement.

The conformity assessment of the taximeter shall include software and additional devices that are required according to § 8.

§ 4 Control and approval of taximeters during use

A taximeter must have a valid conformity assessment according to § 3 and an approval of the installation from Justervesenet before the taximeter can be put into use. Taximeters without conformity marking are not allowed to b put into use.

The taximeter must have a valid approval at all time during use. The approval of the taximeter during use is limited to one year.

Chapter 2 – Design requirements etc.

§ 5 Design requirements

A taximeter shall provide a high level of metrological protection in order that any party affected can have confidence in the result of measurement, and shall be designed and manufactured to a high level of quality in respect of the measurement technology and security of the measurement.

A taximeter shall be designed so as to allow ready evaluation of its conformity with the appropriate requirements of this regulation. The solutions adopted in the pursuit of the requirements shall take account of the intended use of the instrument and any foreseeable misuse thereof.

A taximeter shall be designed to maintain an adequate stability of its metrological characteristics over a period of time estimated by the manufacturer, provided that it is properly installed, maintained and used according to the manufacturer's instruction when in the environmental conditions for which it is intended. A taximeter shall be designed so that it can respect the MPEs without adjustment during a period of one year of normal use.

The taximeter shall be designed to calculate the distance and to measure the duration of a trip. For the purpose of testing after installation, the taximeter shall be equipped with the possibility to test separately the accuracy of time and distance measurement and the accuracy of the calculation.

§ 6 Suitability

A taximeter shall be

  - suitable for its intended use taking account of the practical working conditions and shall not require unreasonable demands of the user in order to obtain a correct measurement result

  - shall be robust and its materials of construction shall be suitable for the conditions in which it is intended to be used

  - designed so as to allow the control of the measuring tasks after the instrument has been placed on the market and put into use. If necessary, special equipment or software for this control shall be part of the instrument. The test procedure shall be described in the operation manual

  - sufficiently sensitive and the discrimination threshold shall be sufficiently low for the intended measurement task

  - designed to reduce as far as possible the effect of a defect that would lead to an inaccurate measurement result, unless the presence of such a defect is obvious.

A taximeter shall have no feature likely to facilitate fraudulent use, whereas possibilities for unintentional misuse shall be minimal.

The metrological characteristics of a taximeter shall not be influenced in any inadmissible way by the connection to it of another device, by any feature of the connected device itself or by any remote device that communicates with the measuring instrument.

When a taximeter has associated software which provides other functions besides the measuring function, the software that is critical for the metrological characteristics shall be identifiable and shall not be inadmissibly influenced by the associated software.

§ 7 Real-time clock

The taximeter shall be equipped with a real-time clock by means of which the time of the day and the date are kept, one or both can be used for automatic change of tariffs. The requirements for the real-time clock are:

- timekeeping shall have an accuracy of 0,02 %

- The correction possibility of the clock shall be not more than 2 minutes per week. Correction for summer and wintertime shall be performed automatically

- Correction, automatic or manually, during a trip shall be prevented.

§ 8 Devices to be connected to the interface(s) of a taximeter

The following devices shall be able to connect to the interface(s) of a taximeter:

- Printer

- Taxi roof sign

- Payment terminal

- Communication unit for transmitting data

- Seat sensor if required

The features of the additional devices can be partly or completely integrated in the taximeter. It shall be possible, by secured setting, to inhibit automatically the operation of the taximeter for reasons of the non-presence or improper functioning of the required device

§ 9 Information to be borne by and to accompany the instrument

A taximeter shall bear the manufacturer's mark or name and information in respect of its accuracy. A taximeter shall also bear when applicable:

- Information in respect of the conditions of use

- Measuring capacity

- Measuring range

- Identity marking

- number of the EC-type examination certificate or the EC design examination certificate

- information whether or not additional devices providing metrological results comply with the provisions of this regulation on legal metrological control.

The taximeter shall be accompanied by information on its operation, unless the simplicity of the meter makes this unnecessary. Information shall be easily understandable and shall include where relevant:

- Rated operating conditions

- Mechanical environment classes

- Electromagnetic environment classes

- the upper and lower temperature limit, whether condensation is possible or not, open or closed location

- instructions for installation, maintenance, repairs, permissible adjustments

- instructions for correct operation and any special conditions of use

- conditions for compatibility with interfaces, sub-assemblies or measuring instruments

- The conditions for the compatibility between the taximeter and the distance signal generator.

Groups of identical taximeters used in the same location or used for utility measurements do not necessarily require individual instruction manuals. All marks and inscriptions required under any requirement shall be clear, non-erasable, unambiguous and non-transferable.

§ 10 Requirements to the manufactor`s instructions

A taximeter and its installation instructions specified by the manufacturer shall be such that, if installed according to the manufacturer's instructions, fraudulent alterations of the measurement signal representing the distance travelled are sufficiently excluded.

§ 11 Protection against corruption

A hardware component that is critical for metrological characteristics shall be designed so that it can be secured. Security measures foreseen shall provide for evidence of an intervention.

Software that is critical for metrological characteristics shall be identified as such and shall be secured. Software identification shall be easily provided by the taximeter. Evidence of an intervention shall be available for a reasonable period of time jf. § 33. The taximeter shall register date and time of the intervention in a separate register.

The taximeter shall provide means to secure the connection of the taximeter to the taxi in which it is installed. The connection of the signal wire to the taximeter and to the taxi shall be able to seal in a way that makes it impossible to disconnect without leaving an obvious mark.

The unit(s) containing the totalised values according to § 16 and its connection to the taxi shall be able to seal in a way that makes it impossible to disconnect without leaving an obvious mark.

The taximeter shall provide means to secure the connection to power, including the fuse, in a way that makes it impossible to disconnect without leaving an obvious mark.

The general essential requirement dealing with fraudulent use shall be fulfilled in such a way that the interests of the customer, the driver, the driver's employer and the fiscal authorities are protected.

§ 12 Securing of data and adjustments

It shall be possible to adjust a taximeter for the constant of the distance signal generator to which it is to be connected and to secure the adjustment. The taximeter shall register date and time of alterations of the constant of the distance signal generator in a separate register.

If the fare to be paid or the measures to be taken against fraudulent use can be affected by the choice of functionality from a pre-programmed setting or by free data setting, it shall be possible to secure the instrument settings and data entered.

The securing possibilities available in a taximeter shall be such that separate securing of the settings is possible.

Chapter 3 – Functional requirements etc.

§ 13 Fare calculation

A taximeter shall be able to apply the normal calculation modes S and D. It shall be possible to choose between these calculation modes by a secured setting.

§ 14 Automatic change of tariffs

Automatic change of tariffs is allowed due to the:

- Distance of the trip

- Duration of the trip

- Time of the day

- Date

- Day of the week

- Number of passengers registered by the seat sensor

§ 15 Power supply failure

In case of a reduction of the voltage supply to a value below the lower operating limit as specified by the manufacturer, the taximeter shall

a) 	continue to work correctly or resume its correct functioning without loss of data available before the voltage drop if the voltage drop is temporary, i.e. due to restarting the engine

b) 	abort an existing measurement and return to the position ‘For Hire’ if the voltage drop is for a longer period.

§ 16 Totalisers

A taximeter shall be fitted with non-resettable totalisers for all of the following values:

- The total distance travelled by the taxi

- The total distance travelled when hired

- The total number of hirings

- The total amount of money charged as supplements

- The total amount of money charged as fare.

The totalised values shall include the values saved according to § 15 under conditions of loss of power supply. If disconnected from power, a taximeter shall allow the totalised values to be stored for one year for the purpose of reading out the values from the taximeter to another medium.

Adequate measures shall be taken to prevent the display of totalised values from being used to deceive passengers.

This provision does not exclude the possibility of storage of other values if it is appropriate or necessary according to other regulations.

§ 17 Data supply

A taximeter shall be able to supply the following data through an appropriate secured interface(s):

- Operation position: ‘For Hire’, ‘Hired’ or ‘Stopped’;

- Totaliser data according to § 16;

- General information: constant of the distance signal generator, date of securing, taxi identifier, real time, identification of the tariff;

- Fare information for a trip: total charged, fare, calculation of the fare, supplement charge, date, start time, finish time, distance travelled;

- Tariff(s) information: parameters of tariff(s).

It must be possible to transmit data described in letter a to e.

§ 18 Secured storage of data

Measurement data according to § 17 letter b and d must be stored for as long as it is relevant to use or the time required in other regulations.

Tariffs, measurement data, software that is critical for measurement characteristics and metrologically important parameters stored or transmitted shall be adequately protected against accidental or intentional corruption.

§ 19 Further processing of data to conclude the trading transaction

A measuring instrument other than a utility measuring instrument shall record by a durable means the measurement result accompanied by information to identify the particular transaction, when the measurement is non-repeatable and the measuring instrument is normally intended for use in the absence of one of the trading parties.

Additionally, a durable proof of the measurement result and the information to identify the transaction shall be available on request at the time the measurement is concluded.

§ 20 Indication of result

Indication of the result shall be by means of a display and hard copy. In the case of hard copy the print or record shall also be easily legible and non-erasable.

The indication of any result shall be clear and unambiguous and accompanied by such marks and inscriptions necessary to inform the user of the significance of the result. Easy reading of the presented result shall be permitted under normal conditions of use. Additional indications may be shown provided they cannot be confused with the metrologically controlled indications.

If there is a supplement charge for an extra service, entered by the driver on manual command, this shall be excluded from the fare displayed. However, in that case a taximeter may display temporarily the value of the fare including the supplementary charge.

If the fare is calculated according to calculation mode D a taximeter may have an additional display mode in which only the total distance and duration of the trip are displayed in real time.

All values displayed for the passenger shall be suitably identified. These values as well as their identification shall be clearly readable under daylight and night conditions.

§ 21 Units and values

The taximeter shall be designed to calculate and display the fare, in NOK in the operation position ‘Hired’. The taximeter shall also be designed to display the final value for the trip in the operating position ‘Stopped’.

The values of distance travelled and time elapsed, when displayed or printed in accordance with this Regulation, shall use the following units:

- Distance travelled: kilometres

- Time elapsed: seconds, minutes or hours, as may be suitable; keeping in mind the necessary resolution and the need to prevent misunderstandings.

The scale interval for a measured value shall be in the form 1×10n, 2×10n, or 5×10n, where n is any integer or zero. The unit of measurement or its symbol shall be shown close to the numerical value.

Chapter 3 – Errors and disturbance

§ 22 Maximum permissible error

The MPE, excluding any errors due to application of the taximeter in a taxi, are:

- For the time elapsed: ± 0,1 %, minimum value of mpe: 0,2s

- For the distance travelled: ± 0,2 %, minimum value of mpe: 4 m

- For the calculation of the fare: ± 0,1 %, minimum, including rounding: corresponding to the least significant digit of the fare indication

Maximum permissible error is expressed as a bilateral value of the deviation from the true measurement value.

§ 23 Reproducibility and repeatability

The application of the same measurand in a different location or by a different user, all other conditions being the same, shall result in the close agreement of successive measurements. The difference between the measurement results shall be small when compared with the MPE.

The application of the same measurand under the same conditions of measurement shall result in the close agreement of successive measurements. The difference between the measurement results shall be small when compared with the MPE.

§ 24 Basic rules for testing and the determination of errors

Maximum permissible error shall be verified for each relevant influence quantity. These essential requirements apply when each influence quantity is applied and its effect evaluated separately, all other influence quantities being kept relatively constant at their reference value.

Metrological tests shall be carried out during or after the application of the influence quantity, whichever condition corresponds to the normal operational status of the instrument when that influence quantity is likely to occur.

§ 25 Influence quantities

The manufacturer shall specify the climatic, mechanical and electromagnetic environments in which the instrument is intended to be used, power supply and other influence quantities likely to affect its accuracy, taking account of the requirements laid down in this regulation.

§ 26 Climatic environments

The manufacturer shall specify the upper temperature limit and the lower temperature limit with a minimum temperature range of 80 °C. The upper limit shall be 40, 55 or 70 °C. The lower limit shall be -10, -25 or -40 °C. A taximeter shall be suitable for its intended use taking account of the practical working conditions according to § 6.

§ 27 Mechanical environments

Mechanical environments are classified into classes M1, 2 and M3. The mechanical class that applies for taximeters is M3. This class applies to instruments used in locations where the level of vibration and shock is high and very high, e.g. for instruments mounted directly on machines, conveyor belts, etc.

The following influence quantities shall be considered in relation with mechanical environments:

- Vibration

- Mechanical shock.

§ 28 Electromagnetic environments

Electromagnetic environments are classified into classes E1, E2 or E3. The electromagnetic class that applies for taximeters is E3. The permitted performance in the presence of an electromagnetic disturbance shall be within maximum permissible error laid down in § 22.

E3 applies to instruments supplied by the battery of a vehicle. Such instruments shall comply with the requirements of E2, which applies to instruments used in locations with electromagnetic disturbances corresponding to those likely to be found in industrial buildings. A taximeter shall also comply with the following additional requirements:

- voltage reductions caused by energising the starter-motor circuits of internal combustion engines

- load dump transients occurring in the event of a discharged battery being disconnected while the engine is running.

The following influence quantities shall be considered in relation with electromagnetic environments:

- Voltage interruptions

- Short voltage reductions

- Voltage transients on supply lines and/or signal lines, electrostatic discharges

- Radio frequency electromagnetic fields

- Conducted radio frequency electromagnetic fields on supply lines and/or signal lines

- Surges on supply lines and/or signal lines.

Other influence quantities to be considered, where appropriate, are:

- Voltage variation

- Any other quantity likely to influence in a significant way the accuracy of the instrument.

§ 29 Ambient humidity

According to the climatic operating environment in which the instrument is intended to be used either the damp heat-steady state (non-condensing) or damp heat cyclic (condensing) test may be appropriate.

The damp heat cyclic test is appropriate where condensation is important or when penetration of vapour will be accelerated by the effect of breathing. In conditions where non-condensing humidity is a factor the damp-heat steady state is appropriate.

Chapter 4 – Requirements and control during use

§ 30 Devices to be connected to the interface(s) of a taximeter during use

The following devices shall be connected to the interface(s) of a taximeter during:

- Taxi roof sign

- Display and printer

- Payment terminal when used

- Communication unit for transmitting data

Additional devices shall have no feature likely to facilitate fraudulent use, whereas possibilities for unintentional misuse shall be minimal.

The taxi roof sign shall indicate the operating position ”For hire” with a lamp. In the other positions the lamp shall be turned off.

§ 31 Maximum permissible error when installed and during use

Maximum permissible errors for a taximeter when installed and during use are:

- For the time elapsed: ± 0,25 %

- For the distance travelled: ± 3 %

- For the calculation of the fare: ± 0,1 %.

§ 32 Information accessible for metrological control

The following information shall be easily accessible for metrological control and be stored in the taximeter for minimum two years:

- Alterations of the constant of the distance signal generator

- Alteration of software that is critical for metrological characteristics.

§ 33 follow-up control

The user must ensure that the taximeter undergoes a follow-up control and receives a new approval in accordance to regulation on units of measurements and measurement § 5-6 when the taximeter undergoes a treatment significant for the metrological properties, including, but not limited to:

- Breach of sealing, both electronical and mechanical sealings

- Alteration of the constant of the distance signal generator

- Changes in dimension of tires

- Alteration of software that is critical for metrological characteristics.

§34 Repair, service and breach of sealing

Anyone who repair, install, perform maintenance or perform other tasks regarding taximeters, have to be a professional in a field that promise to fulfill the requirements of competence according to Act on units of measurements, measurement and standard time § 18 .

If repair or service necessitates the breaking of a seal, the one performing the repair is required to reseal the device or the connection with a unique identity mark.

Chapter 5 – Finishing provisions

§ 35 Fine for violation

Violation of the provisions in this regulation is fined according to the provisions in regulation on units of measurement and measurements chapter 7.

§ 36 Provisional arrangement

Taximeters without conformity marking according to § 3, sold before January 1th. 2010, can be used until January 1th. 2012

§ 37 Entry into force

This regulation is effective by January 1th. 2010.

# Footnotes

The regulation implementing the Annex A – F1 (conformity assessment procedures) from Directive 2004/22/EC