2001/9011/N

THE TEXT OF THE DRAFT TECHNICAL REGULATION CORRESPONDING TO THIS NOTIFICATION WAS RECEIVED BY THE EFTA SURVEILLANCE AUTHORITY ON 05.07.2001. THE STANDSTILL PERIOD OF THREE MONTHS PROVIDED UNDER ARTICLE 9 OF DIRECTIVE 98/34/EC, AS ADAPTED IN THE EEA AGREEMENT, THEREFORE COMES TO AN END ON 08.10.2001.

THE DRAFT TEXT IS ATTACHED TO THIS MESSAGE.

05.07.2001

EEA INFORMATION PROCEDURE ON DRAFT TECHNICAL REGULATIONS ACCORDING TO

DIRECTIVE 98/34/EEC (ANNEX II, CHAPTER XIX, 1. EEA AGREEMENT)

TO:	ESA

1.

2.	N

3.A.	ROYAL MINISTRY OF TRADE AND INDUSTRY,

Department for Industrial and Trade Issues

P.O. BOX 8014 Dep

N-0030  OSLO

3.B.	Norwegian Metrology and Accreditation Service (Justervesenet)

Fetveien 99

N-2007  KJELLER

4.	2001/9011/N

5.	National regulation for automatic catch weighing instruments

6.	This national regulation is valid for Automatic catchweighing

instruments, including among other:

*	Check-weigher

*	Grader

*	Weigh-price labeller

*	Postal and shipping scales with automatic weighing

*	Weighing of waste collection mounted on vehicles (Front)

loader for gravel and sand

7.

8.	This is a national implementation of the OIML-recommendation R 51-1

"Automatic catchweighing instruments, part 1" and OIML R 51-2 part 2 edition

1996 (E)

9.	To bring the national regulation in accordance with the

OIML-recommendation R 51-1 "Automatic catchweighing instruments", part 1 and

OIML R 51-2, part 2 edition 1996 (E).

10.	This regulation replaces the following national regulation

- Generell justerbestemmelse 14 / 96 for automatiske

"catch"veiing-instrumenter

11.	No

12.	-

13.	No

14.	No

<<Forskrift om automatiske catch veiing instrumeneter.doc>>  <<Eng

forskrift om catch-vekter.doc>>