Regulation on requirements for Electricity Energy Meters, annex 2, section 7

# 7. Areas of use for electricity energy meters

Instrument class A in temperature interval + 5 oC … + 30 oC 	To be used for residential

meters for indoor installation, including rental purposes, private bedsits, blocks of bedsits.

Instrument class B in temperature interval - 25 oC … + 55 oC 	To be used for residential

meters for outdoor installation, including cabins / holiday homes.

Instrument class B in temperature interval + 5 oC … + 30 oC	To be used for commercial activity / light industry, including common meters in shopping centers, indoor not transformer coupled. 

Also to be used for lighting / heating of public road with direct-coupled meter.

Instrument class C in free temperature interval	For transformer coupled 
meters in commercial activity / light industry, including common meters in shopping centers.

For housing cooperatives – common meters with subsequent meters in series.

For lighting /heating of public road which has transformer coupled meters.